HARTINGTON UPPER QUARTER PARISH COUNCIL

Camping site at the Parish Hall: DRAFT Risk assessment

Site Layout

| Topic | Hazards | Control measures |
| --- | --- | --- |
| Layout of tents | Risk of a fire spreading | - Adequate separation (6m minimum) between units. - No combustible materials within that separation distance. - Vegetation kept cut back. - Fire extinguishers provided (in the Village Hall). - Maintenance regime for fire extinguishers. |
| Septic tank | Health risks from sewage | - No tent to be pitched within 7m of the underground septic tank located within the camping area. |

Tents

| Topic | Hazards | Control measures |
| --- | --- | --- |
| Use of barbecues etc in tents | Carbon monoxide (CO) | - Ensure no barbecues (nor any other gas-, charcoal-, liquid- or solid-fuel-powered appliances) are used in a tent at any time. |

| LPG |  |  |
| --- | --- | --- |
| Topic | Hazards | Control measures |
| LPG storage | Gas leak/ explosion/fire | - Compound for storage of new and used gas cylinders must be: - Suitably sited - away from buildings and drain gullies. - Kept locked. - Free from overgrown vegetation. - Of adequate size (i.e. no stacking of cylinders). - No cylinder storage outside the cage. - Warning signage displayed. - No smoking in the vicinity. |

| Walking on the camping site |  |  |
| --- | --- | --- |
| Topic | Hazards | Control measures |
| Pedestrian safety | - slips and trips - collision with vehicles | - Maintain any designated footpaths in good repair. - Check site regularly for any tripping hazards. - No vehicles are permitted in the camping area; they must be kept on the highway. |
| Winter conditions | Icy/snowy conditions | - Treatment of underfoot surfaces as appropriate. |

| Use of Parish Hall as an amenity block |  |  |
| --- | --- | --- |
| Topic | Hazards | Control measures |
| Floors | Slips/trips | - Slip resistant flooring where necessary. - Adequate cleaning arrangements. - Temporary signs for wet/slippery floors. |
| Water temperature | Scalding by hot water | - Warning signage |  |
| Legionella | Legionella risk | - Boiler maintenance according to manufacturer’s instructions. - Run all showers and other fittings weekly to avoid water stagnating. - Dismantle, clean and disinfect shower-heads at least quarterly. - Remove redundant pipework - Keep water cisterns covered, and free of debris |  |
| Kitchen | Fires/burns/scalds from kitchen use | - Kitchen to be used only by those with adequate understanding of kitchen risks. |  |
| Electrical installation & equipment | Electric shock & burns | - Regular visual checks for damage to installations (and equipment connected thereto). - Electrical testing and inspection reports up-to-date. - Work undertaken by competent person, e.g. NICEIC or ECA contractor. |  |

Leisure

| Topic | Hazards | Control measures |
| --- | --- | --- |
| Visitors engaging in recreational activities on site | Slips/trips | - Suitable safety briefing to participants, as appropriate to the particular activity. |

Asbestos

| Topic | Hazards | Control measures |
| --- | --- | --- |
| Asbestos- containing material | Asbestos related disease | - Find out whether there are any materials containing asbestos on the site and, if so, where and in what condition. - Make a plan to manage and adequately contain that risk, and then act on that plan. |

Grounds maintenance

| Topic | Hazards | Control measures |
| --- | --- | --- |
| Grounds maintenance | Chemical poisoning | - Safe use of grass cutting and other equipment - Equipment maintenance |
|  | Physical injury | - Safe use of grass cutting and other equipment - Equipment maintenance |

This risk assessment last reviewed on 1 October 2025.